## Sheet1
晶创和立科技 GL3516
MINIATURE CADMIUM SULPHIDE PHOTOCONDUCTIVE CELL
LIGHT DEPENDENT RESISTOR
FEATURES
● | Miniature open frame package
● | Epoxy coated
● | Moisture resistant
● | Spectral response similar to the human eye
● | Applications include dusk-dawn lighting control
Dimensions in millimetres
SPECIFICATION AND PERFORMANCE
|  | Model | Vmax (VDC) |  | Pmax (mW) | Ambient temp(℃) | Spectral peak (nm) | Light Resistance at 10Lux (KΩ) | Dark Resistance (MΩ) | Gamma value at 100-10Lux | Response Time (ms)
[11 empty] | Rise Time |  | Decay time
|  | GL3516 | 100 |  | 50 | -30~+80 | 540 | 5-10 | 0.2 | 0.6 | 30 |  | 30
Measuring Conditions
1. Light resistance: Measured at 10 Lux with standard light A (2854K color temperature) and 2hr illumination at 400-600 lux prior to testing. 2. Dark Resistance: Measured 10 senconds after closed 10 lux. 3. Gamma Characteristic: Between 10 lux ande 100 lux and given by γ = lg(R10/R100) R10、R100 Cell resistance at 10 lux and 100 lux. The error of γ is ± 0.1. 4. Pmax: Max. power dissipation at ambient temperature of 25 ℃. 5. Vmax: Max. voltage in darkness that may be applied to the cell continuously.
照度-阻值特性图
SHENZHEN JINGCHUANGHELI TECHNOLOGY CO., LTD. | [8 empty] | Http://www.szjchl.com
Tel:+86-755-23210829 Fax:+86-755-23210825 | [8 empty] | E-mail:heli@szjchl.com